## Loss Summary Table
CASE LOSSES
| Transmission Losses (MW) | [5 empty] | Annualized Losses (MWh) | [5 empty] | Annualized Monetized Losses ($)
CASE | PGE Loss (MW) | PACW Loss (MW) | PACE Loss (MW) | IPC Loss (MW) | MT Loss (MW) | Total Loss (MW) | PGE Loss (MWh) | PACW Loss (MWh) | PACE Loss (MWh) | IPC Loss (MWh) | MT Loss (MWh) | Total Loss (MWh) | PGE Loss ($) | PACW Loss($) | PACE Loss($) | IPC Loss ($) | MT Loss ($) | Total Loss ($) | PAC TOTAL
DFRTP Summer | 86.2 | 111.2 | 384.2 | 208.2 | 125.7 | 915.5 | 755112 | 974112 | 3365592 | 1823832 | 1101132 | 8019780 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adj. IRP Summer | 86.7 | 110.3 | 381.3 | 202.8 | 123.3 | 904.4 | 759492 | 966228 | 3340188 | 1776528 | 1080108 | 7922544 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diff | -0.5 | 0.9 | 2.9 | 5.4 | 2.4 | 11.1 | -4380 | 7884 | 25404 | 47304 | 21024 | 97236 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DFRTP Summer Scenario A +1000 MW Load | 91.3 | 117.8 | 409.1 | 221.5 | 128.4 | 968.1 | 799788 | 1031928 | 3583716 | 1940340 | 1124784 | 8480556 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adj. IRP Summer Scenario A +1000 MW Load | 91.9 | 116.4 | 405.8 | 214.1 | 125.5 | 953.7 | 805044 | 1019664 | 3554808 | 1875516 | 1099380 | 8354412 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diff | -0.6 | 1.4 | 3.3 | 7.4 | 2.9 | 14.4 | -5256 | 12264 | 28908 | 64824 | 25404 | 126144 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DFRTP Summer Scenario B -1000 MW Load | 82.1 | 105 | 358.5 | 191.7 | 119.6 | 856.9 | 719196 | 919800 | 3140460 | 1679292 | 1047696 | 7506444 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adj. IRP Summer Scenario B -1000 MW Load | 82.7 | 103.7 | 356.2 | 186.6 | 117.2 | 846.4 | 724452 | 908412 | 3120312 | 1634616 | 1026672 | 7414464 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diff | -0.6 | 1.3 | 2.3 | 5.1 | 2.4 | 10.5 | -5256 | 11388 | 20148 | 44676 | 21024 | 91980 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DFRTP Summer Scenario C repl 800 MW wind w/ solar | 83.3 | 105.8 | 355.7 | 186 | 114.7 | 845.5 | 729708 | 926808 | 3115932 | 1629360 | 1004772 | 7406580 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adj. IRP Summer Scenario C repl 800 MW wind w/ solar | 83.7 | 104.7 | 354.2 | 182.8 | 112.9 | 838.3 | 733212 | 917172 | 3102792 | 1601328 | 989004 | 7343508 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diff | -0.4 | 1.1 | 1.5 | 3.2 | 1.8 | 7.2 | -3504 | 9636 | 13140 | 28032 | 15768 | 63072 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DFRTP Summer Scenario D repl 1000 MW coal w/ wind, solar | 75 | 144.5 | 372.8 | 164.6 | 110 | 866.9 | 657000 | 1265820 | 3265728 | 1441896 | 963600 | 7594044 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adj. IRP Summer Scenario D repl 1000 MW coal w/ wind, solar | 75 | 144.6 | 371.8 | 164.1 | 110.3 | 865.8 | 657000 | 1266696 | 3256968 | 1437516 | 966228 | 7584408 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diff | 0 | -0.1 | 1 | 0.5 | -0.3 | 1.1 | 0 | -876 | 8760 | 4380 | -2628 | 9636 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DFRTP Export | 72.9 | 108.9 | 292.4 | 139.8 | 83.5 | 697.5 | 638604 | 953964 | 2561424 | 1224648 | 731460 | 6110100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adj. IRP Export | 72.9 | 117.9 | 282.4 | 128.8 | 84.8 | 686.8 | 638604 | 1032804 | 2473824 | 1128288 | 742848 | 6016368 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diff | 0 | -9 | 10 | 11 | -1.3 | 10.7 | 0 | -78840 | 87600 | 96360 | -11388 | 93732 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DFRTP Winter | 79.1 | 120 | 300.4 | 134.9 | 70.3 | 704.7 | 692916 | 1051200 | 2631504 | 1181724 | 615828 | 6173172 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adj. IRP Winter | 80.51 | 121.72 | 293.6 | 132.6 | 69.2 | 697.63 | 705267.6 | 1066267.2 | 2571936 | 1161576 | 606192 | 6111238.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Diff | -1.41 | -1.72 | 6.8 | 2.3 | 1.1 | 7.07 | -12351.6 | -15067.2 | 59568 | 20148 | 9636 | 61933.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DFTRP Average Loss | 79.4 | 113.3667 | 325.6667 | 160.9667 | 93.1667 | 772.5667 | 695544 | 993092 | 2852840 | 1410068 | 816140 | 6767684 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Adj. IRP Average Loss | 80.0367 | 116.64 | 319.1 | 154.7333 | 92.4333 | 762.9433 | 701121.2 | 1021766.4 | 2795316 | 1355464 | 809716 | 6683383.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Conversion from 2024$ to 2014$
Convert monetized loss numbers from IPC to 2014$ from 2024$
|  |  | INPUT Monitized Losses Received from IPC | [6 empty] | INPUT Monitized Losses Received from IPC
|  |  |  | Case |  | IPC | NWE | PAC | PGE |  | Case |  | IPC | NWE | PAC | PGE
| 7.31% | 46.02% |  | IRP Q5 Updated | 2024$ | 41918267.8803 | 18268005.0687 | 107598523.0044 | 23176643.6001 |  | IRP Q5 Updated | 2024$ | 41918267.8803 | 18268005.0687 | 107598523.0044 | 23176643.6001
|  |  |  | DFRTP | 2024$ | 43606918.4821 | 18412936.9517 | 108145225.6879 | 22992280.6444 |  | DFRTP | 2024$ | 43606918.4821 | 18412936.9517 | 108145225.6879 | 22992280.6444
| 2014 | 0 |  | CAC Scenario A | 2024$ | 60005792.7757 | 25376255.1477 | 128617992.9568 | 26438226.9879 | adj IRP | CAC Scenario A | 2024$ | 58001084.5746 | 24803115 | 127448306 | 26611972.1817
| 2015 | 0 |  | CAC Scenario B | 2024$ | 51932778.6686 | 23637072.5519 | 113230016.8484 | 23774134.0165 | adj IRP | CAC Scenario B | 2024$ | 50551155.4489 | 23162750.0258 | 112319482.7733 | 23947879.2103
| 2016 | 0 |  | CAC Scenario C | 2024$ | 50388611.5407 | 22668664.0611 | 112821812.4326 | 24121624.404 | adj IRP | CAC Scenario C | 2024$ | 49521710.697 | 22312922.1665 | 112153869.4983 | 24237454.5332
| 2017 | 0 |  | CAC Scenario D | 2024$ | 44591212.1484 | 21739782.4474 | 128125040.1026 | 21718149.2233 | adj IRP | CAC Scenario D | 2024$ | 44455758.8916 | 21799072.7632 | 127924669.5779 | 21718149.2233
| 2018 | 0
| 2019 | 0 |  |  | Convert from 2024$ to 2014$ | 46.02% | 46.02% | 46.02% | 46.02% |  |  | Convert from 2024$ to 2014$ | 46.02% | 46.02% | 46.02% | 46.02%
| 2020 | 0
| 2021 | 0 | USE THESE VALUES IN THE CAC Scenario Workbook | [6 empty] | USE THESE VALUES IN THE CAC Scenario Workbook
| 2022 | 0 |  | Case |  | IPC | NWE | PAC | PGE |  | Case |  | IPC | NWE | PAC | PGE
| 2023 | 0 |  | IRP Q5 Updated | 2014$ | 19291286.2448 | 8407153.5567 | 49518122.0922 | 10666167.4847 |  | IRP Q5 Updated | 2014$ | 19291286.2448 | 8407153.5567 | 49518122.0922 | 10666167.4847
| 2024 | 1 |  | DFRTP | 2014$ | 20068423.3684 | 8473852.9358 | 49769721.1799 | 10581321.4563 |  | DFRTP | 2014$ | 20068423.3684 | 8473852.9358 | 49769721.1799 | 10581321.4563
|  |  |  | CAC Scenario A | 2014$ | 27615380.6757 | 11678454.9226 | 59191532.5662 | 12167187.0146 | adj IRP | CAC Scenario A | 2014$ | 26692790.0797 | 11414688.9989 | 58653228.6944 | 12247146.6226
|  |  |  | CAC Scenario B | 2014$ | 23900083.4109 | 10878062.3734 | 52109802.6464 | 10941139.6922 | adj IRP | CAC Scenario B | 2014$ | 23264243.9462 | 10659773.4963 | 51690764.018 | 11021099.3002
|  |  |  | CAC Scenario C | 2014$ | 23189439.3033 | 10432389.2494 | 51921942.1114 | 11101058.9082 | adj IRP | CAC Scenario C | 2014$ | 22790481.2077 | 10268672.5916 | 51614546.8159 | 11154365.3135
|  |  |  | CAC Scenario D | 2014$ | 20521407.0393 | 10004906.8652 | 58964669.7902 | 9994950.9977 | adj IRP | CAC Scenario D | 2014$ | 20459069.8369 | 10032192.9748 | 58872456.8878 | 9994950.9977
|  |  |  | Diff - A |  | -922590.5959 | -263765.9237 | -538303.8718 | 79959.608
|  |  |  | Diff - B |  | -635839.4648 | -218288.8771 | -419038.6284 | 79959.608
|  |  |  | Diff - C |  | -398958.0955 | -163716.6578 | -307395.2955 | 53306.4053
|  |  |  | Diff - D |  | -62337.2024 | 27286.1096 | -92212.9024 | 0

## Planning
Planning Committee Benefit and Beneficiary Data
Planning Input Data Highlighted in Gray
CAPITAL COST SECTION
|  |  | Q1 2014$ |  | Q6 2014$
|  | IRP |  | DFRTP
|  | Non-Committed IRP Projects | 5877693948 | Non-Committed DFRTP | 3944026994
|  |  |  | Alternative Project | 2744026994
CALCULATING BENEFIT AND BENEFICIARY SECTION
Capital Cost Metric
|  | Non-Committed Projects | Benefit
|  | Capital Cost 2014$ | Difference From IRP
IRP | Non-Committed IRP Projects | 5877693948
DFRTP | Non-Committed DFRTP | 3944026994 | 1933666954
Allocation Total Benefit to Beneficiary Classes
| DFRTP Beneficiaries | MW | Pct | DFRTP Benefit
| Q6 Incremental PAC BAA LSEs Load | 1800 | 49.83% | 963621405.6478
| Q6 WY Wind (New) | 712 | 19.71% | 381165800.4563
| Q6 Incremental WY Gen (Existing) | 1100 | 30.45% | 588879747.8959
| Q6 Total | 3612 | 100% | 1933666954
Note
1. The identification of Beneficiaries of a project, the dollar amount of benefits allocated to each Beneficiary, and the timing of those benefits are based upon the assumptions built into the models used to produce the allocations. Actuals may vary from assumptions substantially.
2. Each Beneficiary that is allocated a portion of a project's cost is assumed to receive a corresponding quantity of Ownership Rights or Ownership Like Rights in the project in order to realize the benefits that are assumed to be derived by the project.
3. The allocation of benefits to a Beneficiary is not intended to prejudice in any way the characterization of the costs or the further allocation of the costs by the Beneficiary as may be proscribed or allowed by Federal law, FERC order, or applicable law.
Allocate Class Benefit to Beneficiaries
Prorated Allocation Based on MW
| Allocation Scenarios |  | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Total
| DFRTP | MW | 1800 |  |  |  | 1800
|  | Percent | 100% | 0% | 0% | 0% | 100%
|  | Benefit | 963621405.6478 | 0 | 0 | 0 | 963621405.6478
| CAC Scenario A | MW | 2187.5 | 0 | 0 | 0 | 2187.5
|  | Percent | 100% |  |  |  | 100%
| 387.5 | Benefit | 963621405.6478 | 0 | 0 | 0 | 963621405.6478
| CAC Scenario B | MW | 1412.5 | 0 | 0 | 0 | 1412.5
|  | Percent | 100% |  |  |  | 100%
| -387.5 | Benefit | 963621405.6478 | 0 | 0 | 0 | 963621405.6478
| CAC Scenario C | Benefit | 963621405.6478 | 0 | 0 | 0 | 963621405.6478
| CAC Scenario D | Benefit | 963621405.6478 | 0 | 0 | 0 | 963621405.6478
Prorated Allocation Based on MW
|  |  | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Total
| DFRTP | MW | 712 | 1100 | 0 | 0 | 0 | 1812
|  | Percent | 39.29% | 60.71% | 0% | 0% | 0% | 100%
|  | Benefit | 381165800.4563 | 588879747.8959 | 0 | 0 | 0 | 970045548.3522
| CAC Scenario A | Benefit | 381165800.4563 | 588879747.8959 | 0 | 0 | 0 | 970045548.3522
| CAC Scenario B | Benefit | 381165800.4563 | 588879747.8959 | 0 | 0 | 0 | 970045548.3522
| CAC Scenario C | MW | 399 | 1100 |  |  |  | 1499
| -313 | Percent | 26.62% | 73.38% |  |  |  | 100%
|  | Benefit | 258204252.0297 | 711841296.3225 | 0 | 0 | 0 | 970045548.3522
| CAC Scenario D | MW | 1197 | 1100 |  |  |  | 2297
| 485 | Percent | 52.11% | 47.89% |  |  |  | 100%
|  | Benefit | 505504798.1617 | 464540750.1904 | 0 | 0 | 0 | 970045548.3522
1933666954
Third - Calculate the Capital Related Cost Metric
2014 $ |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Total Benefit
| DFRTP | 0 | 963621405.6478 | 0 | 0 | 0 | 381165800.4563 | 588879747.8959 | 0 | 0 | 0 | 1933666954
| CAC Scenario A | 0 | 963621405.6478 | 0 | 0 | 0 | 381165800.4563 | 588879747.8959 | 0 | 0 | 0 | 1933666954
| CAC Scenario B | 0 | 963621405.6478 | 0 | 0 | 0 | 381165800.4563 | 588879747.8959 | 0 | 0 | 0 | 1933666954
| CAC Scenario C | 0 | 963621405.6478 | 0 | 0 | 0 | 258204252.0297 | 711841296.3225 | 0 | 0 | 0 | 1933666954
| CAC Scenario D | 0 | 963621405.6478 | 0 | 0 | 0 | 505504798.1617 | 464540750.1904 | 0 | 0 | 0 | 1933666954
|  | Fixed Charge Rate | Years | Weighted Cost of Capital
|  | 14.4% | 40 | 7.314%
Levelized Benefit |  | Levelized Capital Related Cost Beneficiaries
|  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Total Benefit
| DFRTP | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278491858.0525
| CAC Scenario A | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278491858.0525
| CAC Scenario B | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278491858.0525
| CAC Scenario C | 0 | 138783317.9663 | 0 | 0 | 0 | 37187263.1717 | 102521276.9144 | 0 | 0 | 0 | 278491858.0525
| CAC Scenario D | 0 | 138783317.9663 | 0 | 0 | 0 | 72804145.6174 | 66904394.4688 | 0 | 0 | 0 | 278491858.0525
Beneficiaries |  | Capital Cost Benficiaries
|  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA
Loss Metric
Annual Data | Case |  | IPC | NWE | PAC | PGE
2014 $ | IRP Q5 Updated | $ | 19291286 | 8407154 | 49518122 | 10666167
| IRP Q5 Updated Summer Scenario A | $ | 26692790.0797 | 11414688.9989 | 58653228.6944 | 12247146.6226
| IRP Q5 Updated Summer Scenario B | $ | 23264243.9462 | 10659773.4963 | 51690764.018 | 11021099.3002
| IRP Q5 Updated Summer Scenario C | $ | 22790481.2077 | 10268672.5916 | 51614546.8159 | 11154365.3135
| IRP Q5 Updated Summer Scenario D | $ | 20459069.8369 | 10032192.9748 | 58872456.8878 | 9994950.9977
| DFRTP | $ | 20068423 | 8473853 | 49769721 | 10581321
| CAC Summer Scenario A | $ | 27615381 | 11678455 | 59191533 | 12167187
| CAC Summer Scenario B | $ | 23900083 | 10878062 | 52109803 | 10941140
| CAC Summer Scenario C | $ | 23189439 | 10432389 | 51921942 | 11101059
| CAC Summer Scenario D | $ | 20521407 | 10004907 | 58964670 | 9994951
Annual Loss Metric Benefit |  |  | IPC | NWE | PAC | PGE
| IRP Q5 Updated - DFRTP | $ Benefit | -777137 | -66699 | -251599 | 84846
| IRP Q5 Updated Summer Scenario A - CAC Summer Scenario A | $ Benefit | -922590.9203 | -263766.0011 | -538304.3056 | 79959.6226
| IRP Q5 Updated Summer Scenario B - CAC Summer Scenario B | $ Benefit | -635839.0538 | -218288.5037 | -419038.982 | 79959.3002
| IRP Q5 Updated Summer Scenario C - CAC Summer Scenario C | $ Benefit | -398957.7923 | -163716.4084 | -307395.1841 | 53306.3135
| IRP Q5 Updated Summer Scenario D - CAC Summer Scenario D | $ Benefit | -62337.1631 | 27285.9748 | -92213.1122 | -0.0022648
Beneficiaries |  |  | IPC | NWE | PAC | PGE
|  | Transmission Service Provider | 100% | 100% | 100% | 100%
Reserve Metric
Annual Data | Case |  | IPC | NWE | PAC | PGE
2014 $ | IRP Q5 Updated | $ | 0 | 0 | 0 | 0
| DFRTP | $ | 0 | 0 | 0 | 0
| CAC Summer Scenario A | $ | 0 | 0 | 0 | 0
| CAC Summer Scenario B | $ | 0 | 0 | 0 | 0
| CAC Summer Scenario C | $ | 0 | 0 | 0 | 0
| CAC Summer Scenario D | $ | 0 | 0 | 0 | 0
Annual Reserve Metric Benefit |  |  | IPC | NWE | PAC | PGE
| IRP Q5 Updated - DFRTP | $ Benefit | 0 | 0 | 0 | 0
| IRP Q5 Updated - CAC Scenario A | $ Benefit | 0 | 0 | 0 | 0
| IRP Q5 Updated - CAC Scenario B | $ Benefit | 0 | 0 | 0 | 0
| IRP Q5 Updated - CAC Scenario C | $ Benefit | 0 | 0 | 0 | 0
| IRP Q5 Updated - CAC Scenario D | $ Benefit | 0 | 0 | 0 | 0
Beneficiaries |  |  | IPC | NWE | PAC | PGE
|  | Transmission Service Provider | 0% | 0% | 0% | 0%
Generation
INITIAL BENEFITS AND BENEFICIARIES SECTION
Initial Benefits |  |  | Initial Benefit
2014 $ |  |  | Loss Benefit |  |  |  | Capital Cost Benefit
|  | Beneficiaries | IPC TSP | NWE TSP | PAC TSP | PGE TSP | Beneficiaries | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Total Benefit
|  | DFRTP | -777137 | -66699 | -251599 | 84846 | DFRTP | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 277481269.0525
|  | CAC Scenario A | -922590.9203 | -263766.0011 | -538304.3056 | 79959.6226 | CAC Scenario A | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 276847156.448
|  | CAC Scenario B | -635839.0538 | -218288.5037 | -419038.982 | 79959.3002 | CAC Scenario B | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 277298650.8131
|  | CAC Scenario C | -398957.7923 | -163716.4084 | -307395.1841 | 53306.3135 | CAC Scenario C | 0 | 138783317.9663 | 0 | 0 | 0 | 37187263.1717 | 102521276.9144 | 0 | 0 | 0 | 277675094.9812
|  | CAC Scenario D | -62337.1631 | 27285.9748 | -92213.1122 | -0.0022648 | CAC Scenario D | 0 | 138783317.9663 | 0 | 0 | 0 | 72804145.6174 | 66904394.4688 | 0 | 0 | 0 | 278364593.7497
Initial Benefit = + Loss Metric + Reserve Metric
Note
Beneficiaries |  |  | 1. The identification of Beneficiaries of a project, the dollar amount of benefits allocated to each Beneficiary, and the timing of those benefits are based upon the assumptions built into the models used to produce the allocations. Actuals may vary from assumptions substantially.
2. Each Beneficiary that is allocated a portion of a project's cost is assumed to receive a corresponding quantity of Ownership Rights or Ownership Like Rights in the project in order to realize the benefits that are assumed to be derived by the project.
3. The allocation of benefits to a Beneficiary is not intended to prejudice in any way the characterization of the costs or the further allocation of the costs by the Beneficiary as may be proscribed or allowed by Federal law, FERC order, or applicable law.
|  |  | Loss Beneficiaries |  |  |  |  | Capital Cost Beneficiaries
|  |  | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA
|  |  | Transmission Service Provider | Transmission Service Provider | Transmission Service Provider | Transmission Service Provider

## Cost Allocation
Cost Allocation Committee Allocation of Cost Pursuant to Beneficiaries
Regional cost allocation process designed from the Attachment K process.
STEP 1
To be eligible for cost allocation, and therefore selected into the Draft Transmission Plan for purposes of cost allocation, the Planning Committee Cost shall verify that the project:
| a. | Was proposed for such purpose by a pre-qualified sponsoring entity, was an unsponsored project identified in the regional planning process, or was an unsponsored project proposed by a stakeholder (or Transmission Provider or non-incumbent transmission developer not desiring to sponsor the project);
| b. | Was selected in the Draft Regional Transmission Plan; and
| c. | Has an estimated cost exceeding $20 million.
Verification
| a. | Yes, the alternative project was identified in the regaional planning process, thus it is an unsponsored project.
| b. | Yes, the alternative project was selected in the transmission plan.
| c. | Yes the alternative project is greater than 20 million. Alternative project cost = $2,744,026,994.
Q6 2014$
|  | Alternative Project | 2744026994
STEP 2
The Cost Allocation Committee initially identifies Beneficiaries as all those entities that may be affected by the project based upon the application of the analysis criteria set forth in Section 3.7.4.2 and using the allocation scenarios developed pursuant to Section 3.8.2.3. For projects eligible to receive a cost allocation, the Cost Allocation Committee shall start with the calculations provided by the Planning Committee pursuant to Section 3.7.4.1, and remove those entities that do not receive a benefit from the project being evaluated.
Data from Planning Committee |  | Initial Benefit
|  |  | Loss Benefit | [5 empty] | Capital Cost Benefit
|  |  | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Capital Cost + Loss + Reserve Benefits
|  | DFRTP | -777137 | -66699 | -251599 | 84846 |  | DFRTP | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 277481269.0525
|  | CAC Scenario A | -922590.9203 | -263766.0011 | -538304.3056 | 79959.6226 |  | CAC Scenario A | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 276847156.448
|  | CAC Scenario B | -635839.0538 | -218288.5037 | -419038.982 | 79959.3002 |  | CAC Scenario B | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 277298650.8131
|  | CAC Scenario C | -398957.7923 | -163716.4084 | -307395.1841 | 53306.3135 |  | CAC Scenario C | 0 | 138783317.9663 | 0 | 0 | 0 | 37187263.1717 | 102521276.9144 | 0 | 0 | 0 | 277675094.9812
|  | CAC Scenario D | -62337.1631 | 27285.9748 | -92213.1122 | -0.0022648 |  | CAC Scenario D | 0 | 138783317.9663 | 0 | 0 | 0 | 72804145.6174 | 66904394.4688 | 0 | 0 | 0 | 278364593.7497
Note
1. The identification of Beneficiaries of a project, the dollar amount of benefits allocated to each Beneficiary, and the timing of those benefits are based upon the assumptions built into the models used to produce the allocations. Actuals may vary from assumptions substantially.
2. Each Beneficiary that is allocated a portion of a project's cost is assumed to receive a corresponding quantity of Ownership Rights or Ownership Like Rights in the project in order to realize the benefits that are assumed to be derived by the project.
3. The allocation of benefits to a Beneficiary is not intended to prejudice in any way the characterization of the costs or the further allocation of the costs by the Beneficiary as may be proscribed or allowed by Federal law, FERC order, or applicable law.
|  |  | Loss Beneficiaries | 0 | 0 | 0 |  |  | Capital Cost Beneficiaries
|  |  | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA
|  |  | Transmission Service Provider | Transmission Service Provider | Transmission Service Provider | Transmission Service Provider
For projects eligible to receive a cost allocation, the Cost Allocation Committee shall start with the calculations provided by the Planning Committee pursuant to Section 3.7.4.1, and remove those entities that do not receive a benefit from the project being evaluated.
|  | 0 | IPC TSP | NWE TSP | #REF! | PAC TSP | PGE TSP | Sum
|  | DFRTP |  |  | #REF! |  | 84846 | #REF!
|  | CAC Scenario A |  |  | #REF! |  | 79959.6226 | #REF!
|  | CAC Scenario B |  |  | #REF! |  | 79959.3002 | #REF!
|  | CAC Scenario C |  |  | #REF! |  | 53306.3135 | #REF!
|  | CAC Scenario D |  | 27285.9748 | #REF! |  |  | #REF!
Step 3
Before allocating a transmission project's cost, the Cost Allocation Committee will adjust, as appropriate, the calculated initial net benefits for each Beneficiary based upon the following criteria:
| Criterion a. | The net benefits attributed in any scenario are capped at no less than 50% and no more than 150% of the average of the unadjusted, net benefits (whether positive or negative)
|  |  | Capital Cost + Loss + Reserve Benefits | 50% of Average | 150% of Average | Is Scenario between upper and lower cap?
|  | DFRTP | 277481269.0525 |  |  | Yes
|  | CAC Scenario A | 276847156.448 | 138773186.999 | 416319560.997 | Yes
|  | CAC Scenario B | 277298650.8131 |  |  | Yes
|  | CAC Scenario C | 277675094.9812 |  |  | Yes
|  | CAC Scenario D | 278364593.7497 |  |  | Yes
|  | AVERAGE of Net Benefits | 277546373.998
Adjusted scenario total benefit to be between upper and lower caps and redistrbenefits entity benefits on a prorated basis.
Annual Benefits
Criteria A
Adjusted
| Criteria a applied | [17 empty] | (if approprtiate)
|  |  | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Capital Cost + Loss + Reserve Benefits
|  | DFRTP | -777137 | -66699 | -251599 | 84846 |  | DFRTP | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 277481269.0525
|  | CAC Scenario A | -922590.9203 | -263766.0011 | -538304.3056 | 79959.6226 |  | CAC Scenario A | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 276847156.448
|  | CAC Scenario B | -635839.0538 | -218288.5037 | -419038.982 | 79959.3002 |  | CAC Scenario B | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 277298650.8131
|  | CAC Scenario C | -398957.7923 | -163716.4084 | -307395.1841 | 53306.3135 |  | CAC Scenario C | 0 | 138783317.9663 | 0 | 0 | 0 | 37187263.1717 | 102521276.9144 | 0 | 0 | 0 | 277675094.9812
|  | CAC Scenario D | -62337.1631 | 27285.9748 | -92213.1122 | -0.0022648 |  | CAC Scenario D | 0 | 138783317.9663 | 0 | 0 | 0 | 72804145.6174 | 66904394.4688 | 0 | 0 | 0 | 278364593.7497
| CAC Scenarion Average | Used in Criterion b | -504931.2324 | -154621.2346 | -339237.896 | 53306.3085 |  | Used in Criterion b | 0 | 138783317.9663 | 0 | 0 | 0 | 54946108.4173 | 84762431.6688 | 0 | 0 | 0 | 277546373.998
| Criterion b. | If the average of the net benefits, as adjusted by (a) above, across the allocation scenarios is negative, the average net benefit to that Beneficiary is set to zero.
Criteria a and b applied
| Adjusted Net Benefits |  | Annual Benefits Adjusted Net Benefit per Criterion a and b | [15 empty] | Total
|  |  | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Adj Net Benefit
|  | DFRTP | 0 | 0 | 0 | 84846 |  |  | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278576704.0525
|  | CAC Scenario A | 0 | 0 | 0 | 79959.6226 |  |  | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278571817.675
|  | CAC Scenario B | 0 | 0 | 0 | 79959.3002 |  |  | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278571817.3526
|  | CAC Scenario C | 0 | 0 | 0 | 53306.3135 |  |  | 0 | 138783317.9663 | 0 | 0 | 0 | 37187263.1717 | 102521276.9144 | 0 | 0 | 0 | 278545164.3659
|  | CAC Scenario D | 0 | 0 | 0 | -0.0022648 |  |  | 0 | 138783317.9663 | 0 | 0 | 0 | 72804145.6174 | 66904394.4688 | 0 | 0 | 0 | 278491858.0502
| Average Net Benefit Used in Allocation Below |  | 0 | 0 | 0 | 53306.3085 |  |  | 0 | 138783317.9663 | 0 | 0 | 0 | 54946108.4173 | 84762431.6688 | 0 | 0 | 0 | 278545164.361
STEP 4 | Allocate Costs
Each of these adjustments is applied to each Beneficiary independent of other Beneficiaries. The initial (and adjusted) net benefits for the selected Change Case are the sum of the benefits (which numerically may be positive or negative) across each of the analysis criteria. A Beneficiary will be included in the steps above even if only one of the analysis criteria is applicable to that Beneficiary and the estimated benefits for the other analysis criteria are, by definition, zero.
The adjusted net benefits, as determined by applying the limits in the two conditions above, are used for allocating project costs proportionally to Beneficiaries.
However, Beneficiaries other than the Applicant will only be allocated costs such that the ratio of adjusted net benefits to allocated costs is no less than 1.10 (or, if there is no Applicant, no less than 1.10). If a Beneficiary has an allocated cost of less than $100,000, the cost allocated to that Beneficiary is set to zero.
1st Round of Allocation |  |  | Q6 2014$
|  | Alternative Project | 2744026994
Annual Benefits Adjusted Net Benefit per Criterion a and b
|  |  | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Capital Cost + Loss + Reserve Benefits
|  | DFRTP | 0 | 0 | 0 | 84846 |  | DFRTP | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278576704.0525
|  | CAC Scenario A | 0 | 0 | 0 | 79959.6226 |  | CAC Scenario A | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278571817.675
|  | CAC Scenario B | 0 | 0 | 0 | 79959.3002 |  | CAC Scenario B | 0 | 138783317.9663 | 0 | 0 | 0 | 54896512.44 | 84812027.6461 | 0 | 0 | 0 | 278571817.3526
|  | CAC Scenario C | 0 | 0 | 0 | 53306.3135 |  | CAC Scenario C | 0 | 138783317.9663 | 0 | 0 | 0 | 37187263.1717 | 102521276.9144 | 0 | 0 | 0 | 278545164.3659
|  | CAC Scenario D | 0 | 0 | 0 | -0.0022648 |  | CAC Scenario D | 0 | 138783317.9663 | 0 | 0 | 0 | 72804145.6174 | 66904394.4688 | 0 | 0 | 0 | 278491858.0502
| Average Benefits | Average | 0 | 0 | 0 | 59614.2468 |  | Average Benefits | 0 | 138783317.9663 | 0 | 0 | 0 | 54936189.2218 | 84772350.8643 | 0 | 0 | 0 | 278551472.2993
| Levelized Fixed Charge Rate (40 yr, 7.31%) = | 14.4%
| TPV of Average Benefits | = Average Benefits/14.4% | 0 | 0 | 0 | 413922.6899 |  |  | 0 | 963621405.6478 | 0 | 0 | 0 | 381441290.312 | 588604258.0401 | 0 | 0 | 0 | 1934080876.6899
Q6 2014$
|  | Alternative Project | 2744026994
TPV Benefits Adjusted Net Benefit per Criterion a and b
|  |  | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Capital Cost + Loss + Reserve Benefits
|  | TPV of Average Benefits | 0 | 0 | 0 | 413922.6899 |  | TPV of Average Benefits | 0 | 963621405.6478 | 0 | 0 | 0 | 381441290.312 | 588604258.0401 | 0 | 0 | 0 | 1934080876.6899 |  |  | PGE TSP | Q6 Incremental PAC BAA LSEs Load | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing)
| A | Proportion benefit distribution | 0% | 0% | 0% | 0.0214% |  | Proportion benefit distribution | 0% | 49.82% | 0% | 0% | 0% | 19.72% | 30.43% | 0% | 0% | 0% | 100% |  | A | 587263.4636 | 1367162656.4135 | 541179642.4117 | 835097431.7112
|  | Capital Cost Portional Allocation | 0 | 0 | 0 | 587263.4636 |  | Capital Cost Portional Allocation | 0 | 1367162656.4135 | 0 | 0 | 0 | 541179642.4117 | 835097431.7112 | 0 | 0 | 0 | 2744026994 |  | B | 376293.3545 | 876019459.6799 | 346764809.3746 | 535094780.0365
| B | TPV of Average Benefits/1.10 | 0 | 0 | 0 | 376293.3545 |  | TPV of Average Benefits/1.10 | 0 | 876019459.6799 | 0 | 0 | 0 | 346764809.3746 | 535094780.0365 | 0 | 0 | 0 | 1758255342.4454
|  | Allocated costs lesser of A or B above | 0 | 0 | 0 | 376293.3545 |  | Allocated costs lesser of A or B above | 0 | 876019459.6799 | 0 | 0 | 0 | 346764809.3746 | 535094780.0365 | 0 | 0 | 0 | 1758255342.4454
|  | A or B Applied |  |  |  | B |  |  |  | B |  |  |  | B | B
|  |  | Ratio of Adjusted Net Benefits | [15 empty] | Number | Number
|  |  | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  |  | NA | Q6 Incremental PAC BAA LSEs Load | NA | NA | NA | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | NA | NA | NA | Beneficiaries | Rato <= 1.10
|  | Ratio adjusted net benefit to allocated cost | 0 | 0 | 0 | 1.1 |  | Ratio adjusted net benefit to allocated cost | 0 | 1.1 | 0 | 0 | 0 | 1.1 | 1.1 | 0 | 0 | 0 | 14
|  | Ratio < = 1.10? | Yes | Yes | Yes | Yes |  | Ratio < = 1.10? | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  | 14
|  | If < $100,000, then $0 | 0 | 0 | 0 | 376293.3545 |  | If < $100,000, then $0 | 0 | 876019459.6799 | 0 | 0 | 0 | 346764809.3746 | 535094780.0365 | 0 | 0 | 0
|  | TERMINATE ALLOCATION? | Yes
Alternative Project Allocated Costs
Unallocated costs due to the limitations above are reallocated among the remaining Beneficiaries. Reallocation will continue among regional Beneficiaries, which are still above the benefit-cost threshold (i.e., the 1.10 ratio of adjusted net benefits to allocated costs) until either all costs are allocated or there are no Beneficiaries above the 1.10 benefit-cost threshold. The Applicant may voluntarily accept any remaining project costs. Otherwise, if the thresholds prevent all costs from being reallocated among Beneficiaries and the unallocated costs are not accepted by the Applicant, the project is no longer eligible for cost allocation.
|  |  | Loss Beneficiaries | Capital Cost Beneficiaries
|  | Beneficiary | PGE TSP | Q6 Incremental PAC BAA LSEs Load | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | Sum
|  | Allocated Costs | 376293.3545 | 876019459.6799 | 346764809.3746 | 535094780.0365 | 1758255342.4454
Note
1. The identification of Beneficiaries of a project, the dollar amount of benefits allocated to each Beneficiary, and the timing of those benefits are based upon the assumptions built into the models used to produce the allocations. Actuals may vary from assumptions substantially.
2. Each Beneficiary that is allocated a portion of a project's cost is assumed to receive a corresponding quantity of Ownership Rights or Ownership Like Rights in the project in order to realize the benefits that are assumed to be derived by the project.
3. The allocation of benefits to a Beneficiary is not intended to prejudice in any way the characterization of the costs or the further allocation of the costs by the Beneficiary as may be proscribed or allowed by Federal law, FERC order, or applicable law.
Total
|  | Alternative Project Capital Cost | 2744026994
|  | Beneficiary Allocation of Alternative Project Capital Cost | 1758255342.4454
|  | Remaining Costs | 985771651.5546 | Had the Alternative Project been a Sponsored Project or submitted by a stakeholder (each an “Applicant”), the Applicant could voluntarily accept the remaining project costs of $985,771,652. If the Applicant did not accept remaining costs, the project was no longer eligible for cost allocation. In this case, since the Alternative Project is an unsponsored project identified by the Planning Committee, there is not an Applicant to accept the remaining costs of the project. As a result, since all project cots cannot be allocated to Beneficiaries, the Alternative Project is not eligible for cost allocation

## Tables for DFRTP
[13 empty] | TPV Benefits Adjusted Net Benefit per Criterion a and b | 0 | 0 | 0 | 0 |  | Cap Cost 2014$ |  |  | Data for Graph | [5 empty] | Loss Beneficiaries | Capital Cost Beneficiaries |  |  |  |  | Levelized Capital Related Cost Beneficiaries |  |  |  |  | Loss Beneficiaries | Capital Cost Beneficiaries
[13 empty] | IPC TSP | NWE TSP | PAC TSP | PGE TSP | 0 | 0 |  | Q1 IRTP Updated | Q6 DFRTP | [5 empty] | Beneficiary | PGE TSP | Q6 Incremental PAC BAA LSEs Load | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | Sum |  | Q6 Incremental PAC BAA LSEs Load | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | Total Benefit | Beneficiary | PGE TSP | Q6 Incremental PAC BAA LSEs Load | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | Sum
[12 empty] | TPV of Average Benefits | 0 | 0 | 0 | 413922.6899 | 0 | TPV of Average Benefits | New Q4 Gen | [7 empty] | Allocated Costs | 376293.3545 | 876019459.6799 | 346764809.3746 | 535094780.0365 | 1758255342.4454 | DFRTP | 138783317.9663 | 54896512.44 | 84812027.6461 | 278491858.0525 | Allocated Costs | 376293.3545 | 876019459.6799 | 346764809.3746 | 535094780.0365 | 1758255342.4454
[12 empty] | Proportion benefit distribution | 0% | 0% | 0% | 0.0214% | 0% | Proportion benefit distribution | Inc Q6 Gen & Ld | [13 empty] | CAC Scenario A | 138783317.9663 | 54896512.44 | 84812027.6461 | 278491858.0525
[11 empty] | A | Capital Cost Portional Allocation | 0 | 0 | 0 | 587263.4636 | 0 | Capital Cost Portional Allocation | Q1 IRTP Cost | 5877693948 | [12 empty] | CAC Scenario B | 138783317.9663 | 54896512.44 | 84812027.6461 | 278491858.0525
[11 empty] | B | TPV of Average Benefits/1.10 | 0 | 0 | 0 | 376293.3545 | 0 | TPV of Average Benefits/1.10 | Q4 Alt Proj Cost | [8 empty] | Total |  |  |  |  | CAC Scenario C | 138783317.9663 | 37187263.1717 | 102521276.9144 | 278491858.0525 | [7 empty] | Total
[12 empty] | Allocated costs lesser of A or B above | 0 | 0 | 0 | 376293.3545 | 0 | Allocated costs lesser of A or B above | Q6 Alt Proj Cost |  | 2744026994 | [5 empty] | Alternative Project Capital Cost | 2744026994 |  |  |  |  | CAC Scenario D | 138783317.9663 | 72804145.6174 | 66904394.4688 | 278491858.0525 | [6 empty] | Alternative Project Capital Cost | 2744026994
[19 empty] | Savings (Benefit) |  | 3133666954 | [5 empty] | Beneficiary Allocation of Alternative Project Capital Cost | 1758255342.4454 | [15 empty] | Beneficiary Allocation of Alternative Project Capital Cost | 1758255342.4454
| Loss Benefit | [25 empty] | Remaining Costs | 985771651.5546 | Had the Alternative Project been a Sponsored Project or submitted by a stakeholder (each an “Applicant”), the Applicant could voluntarily accept the remaining project costs of $985,771,652. If the Applicant did not accept remaining costs, the project was no longer eligible for cost allocation. In this case, since the Alternative Project is an unsponsored project identified by the Planning Committee, there is not an Applicant to accept the remaining costs of the project. As a result, since all project cots cannot be allocated to Beneficiaries, the Alternative Project is not eligible for cost allocation | [14 empty] | Remaining Costs | 985771651.5546 | The Applicant may voluntary accept remaining project costs of $985,771,652. If the Applicant does not accept remaining costs the project is no longer eligible for cost allocation.
Beneficiaries | IPC TSP | NWE TSP | PAC TSP | PGE TSP |  | IRTP | DFRTP | Beneficiaries
DFRTP | -777137 | -66699 | -251599 | 84846 | Non-Committed IRP Projects | 5.8777
CAC Scenario A | -922590.9203 | -263766.0011 | -538304.3056 | 79959.6226 | Q6 Incrmental PAC BAA LSEs |  |  | 0.96362
CAC Scenario B | -635839.0538 | -218288.5037 | -419038.982 | 79959.3002 | New WY Wind |  |  | 0.38117
CAC Scenario C | -398957.7923 | -163716.4084 | -307395.1841 | 53306.3135 | Exist WY Gen |  |  | 0.58888
CAC Scenario D | -62337.1631 | 27285.9748 | -92213.1122 | -0.0022648 | Non-Commited w/Cost Alloc |  | 2.744 | 2.744
[5 empty] | Benefit |  | 1.9337
[5 empty] | Non-Committed Proj No Cost Alloc |  | 1.2 | 1.2
Allocation
[23 empty] | DFRTP Beneficiaries | MW | Pct | DFRTP Benefit
[23 empty] | Q6 Incremental PAC BAA LSEs Load | 1800 | 49.83% | 963621405.6478
[23 empty] | Q6 WY Wind (New) | 712 | 19.71% | 381165800.4563
[23 empty] | Q6 Incremental WY Gen (Existing) | 1100 | 30.45% | 588879747.8959
[7 empty] | Loss Benefit | 0 | 0 | 0 | [12 empty] | Q6 Total | 3612 | 100% | 1933666954
[7 empty] | IPC TSP | NWE TSP | PAC TSP | PGE TSP
[6 empty] | DFRTP | -777137 | -66699 | -251599 | 84846
[6 empty] | CAC Scenario A | -922590.9203 | -263766.0011 | -538304.3056 | 79959.6226
[6 empty] | CAC Scenario B | -635839.0538 | -218288.5037 | -419038.982 | 79959.3002
[6 empty] | CAC Scenario C | -398957.7923 | -163716.4084 | -307395.1841 | 53306.3135 | [37 empty] | Q6 Incremental PAC BAA LSEs Load
[6 empty] | CAC Scenario D | -62337.1631 | 27285.9748 | -92213.1122 | -0.0022648 | [35 empty] | DFRTP | MW | 1800
[47 empty] | Percent | 100%
[47 empty] | Benefit | 963621405.6478
[46 empty] | CAC Scenario A | MW | 2187.5
[46 empty] | Change DFRTP MW by 387.5MW | Percent | 100%
[47 empty] | Benefit | 963621405.6478
[46 empty] | CAC Scenario B | MW | 1412.5
[46 empty] | Change DFRTP MW by -387.5MW | Percent | 100%
[47 empty] | Benefit | 963621405.6478
[46 empty] | CAC Scenario C | Benefit | 963621405.6478
[46 empty] | CAC Scenario D | Benefit | 963621405.6478
[51 empty] | Q6 WY Wind (New) | Q6 Incremental WY Gen (Existing) | Total
[49 empty] | DFRTP | MW | 712 | 1100 | 1812
[50 empty] | Percent | 39.29% | 60.71% | 100%
[50 empty] | Benefit | 381165800.4563 | 588879747.8959 | 970045548.3522
[49 empty] | CAC Scenario A | Benefit | 381165800.4563 | 588879747.8959 | 970045548.3522
[49 empty] | CAC Scenario B | Benefit | 381165800.4563 | 588879747.8959 | 970045548.3522
[49 empty] | CAC Scenario C | MW | 399 | 1100 | 1499
[49 empty] | Change DFRTP MW by -313MW | Percent | 26.62% | 73.38% | 100%
[50 empty] | Benefit | 258204252.0297 | 711841296.3225 | 970045548.3522
[49 empty] | CAC Scenario D | MW | 1197 | 1100 | 2297
[49 empty] | Change DFRTP MW by 485MW | Percent | 52.11% | 47.89% | 100%
[50 empty] | Benefit | 505504798.1617 | 464540750.1904 | 970045548.3522