## Submittal Instructions
Table 2: Minimum Information Required (Yes required or No not required)
|  | Sponsored Project | Unsponsored Project | Merchant Developer Project | Tab(s) | Specific Column (when appicable)
A | Load and resource data (1) | Y | Y | N (2) | peak_data, gen_add
B | Forecasted transmission service requirements, if any | Y | Y | N (3) | transmission_service
C | Whether the proposed project meets reliability or load service needs | Y | Y | N (3) | projected_transmission | D or E
D | Economic considerations | Y | Y | N (4) | projected_transmission | D or E
E | Whether the proposed project satisfies a transmission need driven by Public Policy Requirements | Y | Y | N (3) | projected_transmission | D or E
F | Project location | Y | Y | Y | projected_transmission | H and I
G | Voltage level (including whether AC or DC) | Y | Y | Y | projected_transmission | P, Q, and R
H | Structure type | Y | Y | Y | projected_transmission | W, X, and Y
I | Conductor type and configuration | Y | Y | Y | projected_transmission | S, T, and U
J | Project terminal facilities | Y | Y | Y | terminal_facilities
K | Project cost, associated annual revenue requirements, and underlying assumptions and parameters in developing revenue requirement | Y | Y | N | projected_transmission | AI (revenue requirement - complete Cost Allocation Form)
L | Project development schedule | Y | Y | Y | projected_transmission | AA through AH
M | Current project development phase | Y | Y | Y | projected_transmission | C, AG, and AH
N | In-service date | Y | Y | Y | projected_transmission | AC and AD
O | A list of all planning regions to which an interregional project has been submitted for evaluation | Y | Y | N | projected_transmission | AJ
1. Transmission Provider shall provide load and resource data for its balancing authority area. Non-incumbent developer and merchant developers who are providing data shall provide project specific load and resource data.
2. To the extent applicable and data is readily available for the proposed transmission project; provide the approximate location of the new or existing resource and/or load that may require this proposed project if other than forecasted transmission service.
3. Provide this information only to the extent it is readily available when the information is due.
4. To the extent applicable and data is readily available for the proposed transmission project; provide that approximate location of the congestion that this project is proposed to address.
Data Submittal Instructions
This workbook contains several forms for submitting load, resources, transmission projects, terminal facilities and non-transmission solutions for the NTTG ten-year planning horizon.
Please submit completed forms and any additional information to info@nttg.biz .
For submission window, please refer to the Attachment K of any NTTG Funding Member.
Please refer to Table 2 below , from the Transmission Provider's OATT Attachment K, to determine the data requirements based on the submitting stakeholder. If data has been submitted to WECC, a Transmisison Provider or stakeholder may rely on that submission for load, resource, transmisison service requirements and project details that are included in the WECC submission. In addition to the WECC data, please provide the items identified in Table 2, shown below. For stakeholders proposing projects that have not been submitted to WECC, please complete the gen_add, projected transmission, terminal_facilities and/or non_xmsn_alternatives worksheets as appropriate.
The gen_add and projected_transmission tabs are templates that are identical to a WECC data submittal with the addition of the requested project cost, permitting status, WECC rating status and interregional planning region information. Note that the costs for transmission terminal facilities should be identified in the terminal_facilities tab.
The columns highlighted in green indicate required fields, columns in gray indicate optional fields.
Refer to the WECC Data Collection Manual for clarification of the requested data .
All information supplied to the Planning Committee or subcommittees must be marked by the provider in accordance with the appropriate CEII document class.
The data markings should be as follows:
a) None or "Public,"
b) Contains Critical Energy Infrastructure Information - Do Not Release, or
c) Contains Privileged Information - Do Not Release.
All committee and subcommittee members will treat the provided information based on these classification. Additionally, all information will be subject to Standard of Conduct provisions, meaning non-public transmission information will not be shared unless/until it has been posted on the Provider’s OASIS.

## Organization Details
Date | 2016-01-31
Organization Name | Renewable Northwest and NW Energy Coalition
Primary Contact Name | Cameron Yourkowski, Fred Heutte
Primary Contact Phone Number | 503-223-4544, 503-757-6222
Primary Contact Email Address | cameron@rnp.org, fred@nwenergy.org

## peak_data
Peak Data (MW) - Aggregated Demands, Outages, and Transfers at time of peak by year and month.
- Include projected DSM and EE in peak demand forecast. DSM and EE should also be entered individually.
Year | DSM Code | Code | Zone | BA | I/E | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Comment
2015 | [17 empty] | Peak Demand - Actual
2016 | [17 empty] | Peak demand - FY1
2017 | [17 empty] | Peak demand - FY2
2018 | [17 empty] | Peak demand - FY3
2019 | [17 empty] | Peak demand - FY4
2020 | [17 empty] | Peak demand - FY5
2021 | [17 empty] | Peak demand - FY6
2022 | [17 empty] | Peak demand - FY7
2023 | [17 empty] | Peak demand - FY8
2024 | [17 empty] | Peak demand - FY9
2025 | [17 empty] | Peak demand - FY10
2026 | [17 empty] | Peak demand - FY11
2015 | L | [16 empty] | DSM - Type L - Actual
2016 | L | [16 empty] | DSM - Type L - FY1
2017 | L | [16 empty] | DSM - Type L - FY2
2018 | L | [16 empty] | DSM - Type L - FY3
2019 | L | [16 empty] | DSM - Type L - FY4
2020 | L | [16 empty] | DSM - Type L - FY5
2021 | L | [16 empty] | DSM - Type L - FY6
2022 | L | [16 empty] | DSM - Type L - FY7
2023 | L | [16 empty] | DSM - Type L - FY8
2024 | L | [16 empty] | DSM - Type L - FY9
2025 | L | [16 empty] | DSM - Type L - FY10
2026 | L | [16 empty] | DSM - Type L - FY11
2015 | [17 empty] | EE - Annual - Actual
2016 | [17 empty] | EE - Annual - FY1
2017 | [17 empty] | EE - Annual - FY2
2018 | [17 empty] | EE - Annual - FY3
2019 | [17 empty] | EE - Annual - FY4
2020 | [17 empty] | EE - Annual - FY5
2021 | [17 empty] | EE - Annual - FY6
2022 | [17 empty] | EE - Annual - FY7
2023 | [17 empty] | EE - Annual - FY8
2024 | [17 empty] | EE - Annual - FY9
2025 | [17 empty] | EE - Annual - FY10
2026 | [17 empty] | EE - Annual - FY11
Note on B3: See WECC Manual - Attachment C for list and explanation of valid codes [I, L, P or R]
Note on C3: See WECC Manual - Attachment C for list and explanation of valid codes
Note on E3: See WECC Manual - Attachment C for list of valid codes
Note on H3: Export/Import Code

## gen_add
Generation Additions - New units or demand side management planned for a future year. Capacities in MWs.
EIA Plant Code | EIA Unit Code | Zone | BA | Org | Unit Name | Unit Number | Unit Type | Nameplate | Summer Cap | Winter Cap | CoGen | CoGen Summer Cap | CoGen Winter Cap | Primary Fuel | Secondary Fuel | Status Code | State | County | NERC Class Code | WECC Class Code | Commission Date | Retirement Date | Latitude | Longitude | TSS Bus | Wind Solar Zone | TEPPC Profile | Capital Cost ($ millions) | Public Policy Project (Y/N) If yes, elaborate on driver | Comments
|  | NWE | NWE | NWE | Colstrip | 1 | Coal | -358 | [5 empty] | coal |  |  | MT | Rosebud |  |  |  | 2027-12-31 |  |  | Colstrip Substation |  |  | Cost of CAA Compliance is estimated to $69.7 million | Yes | The public policy justifications for this study request include: (1) the Clean Power Plan under Clean Air Act, Section 111(d); (2) Clean Air Act Section 211(a) and compliance with the EPA Regional Haze Program; (3) Renewable Portfolio Standard requirements in California, Washington and Oregon; (4) Integrated Resource Planning requirements for least cost/least risk procurement under the Washington Utility and Transportation Commission, Oregon Public Utility Commission and Idaho Public Utilities Commission.
|  | NWE | NWE | NWE | Colstrip | 2 | Coal | -358 | [5 empty] | coal |  |  | MT | Rosebud |  |  |  | 2027-12-31 |  |  | Colstrip Substation |  |  | Cost of CAA Compliance is estimated to $69.7 million | Yes | The public policy justifications for this study request include: (1) the Clean Power Plan under Clean Air Act, Section 111(d); (2) Clean Air Act Section 211(a) and compliance with the EPA Regional Haze Program; (3) Renewable Portfolio Standard requirements in California, Washington and Oregon; (4) Integrated Resource Planning requirements for least cost/least risk procurement under the Washington Utility and Transportation Commission, Oregon Public Utility Commission and Idaho Public Utilities Commission.
|  | NWE | NWE | NWE | Colstrip | 3 | Coal | -778 | [5 empty] | coal |  |  | MT | Rosebud |  |  |  | 2027-12-31 |  |  | Colstrip Substation |  |  | Cost of CAA Compliance is estimated to $197 million | Yes | The public policy justifications for this study request include: (1) the Clean Power Plan under Clean Air Act, Section 111(d); (2) Clean Air Act Section 211(a) and compliance with the EPA Regional Haze Program; (3) Renewable Portfolio Standard requirements in California, Washington and Oregon; (4) Integrated Resource Planning requirements for least cost/least risk procurement under the Washington Utility and Transportation Commission, Oregon Public Utility Commission and Idaho Public Utilities Commission.
sub-study (a) and (b)
|  | NWE | NWE | NWE | New Montana Wind @ Broadview 500 KV Bus |  | Wind | 1494 | [5 empty] | wind |  |  | MT | Yellowstone |  |  | 2027-12-31 |  |  |  | Broadview 500 KV Transmisison Bus | WREZ Zones MT_NW, MT_NE, and MT_CT |  | $1980/kW | Yes | Renewable Portfolio Standard requirements in California, Washington and Oregon.
sub-study (c)
|  | NWE | NWE | NWE | New Montana Wind @ Broadview 500 KV Bus |  | Wind | 1244 | [5 empty] | wind |  |  | MT | Yellowstone |  |  | 2027-12-31 |  |  |  | Broadview 500 KV Transmisison Bus | WREZ Zones MT_NW, MT_NE, and MT_CT |  | $1980/kW | Yes | Renewable Portfolio Standard requirements in California, Washington and Oregon.
[5 empty] | New Combined Cycle Combustion Turbine @ Colstrip |  |  | 250 | [5 empty] | natural gas |  |  | MT | Yellowstone |  |  | 2027-12-31 |  |  |  | Billings |  |  | $1425/kW
Note on F2: Data Record must include a unit name AND number.
Note on L2: If a cogeneration unit, enter True.
Note on O2: See WECC Manual - Attachment B for list of valid codes
Note on Q2: See WECC Manual - Attachment B for list of valid codes
Note on T2: See WECC Manual - Attachment B for list of valid codes
Note on U2: See WECC Manual - Attachment B for list of valid codes
Note on AD2: If Public Policy Project, please denote the mandate/law or objective in the comments section
Note on I3: program: Nameplate capacity as reported in EPA CPP Technical Study Document
Note on AC10: program: Cost data based on NorthWestern Energy 2013 Electricity Supply Resource Procurement Plan, p. 5-32, for CCCT (1x1) type GE 7FA.04 ACC

## projected transmission
Transmission Additions - New lines/changes that are planned for a future year.
-Please complete data fields through column AK
-Please only include transmission line costs in the cost estimate. Any terminal facility costs should be identified and included in the terminal_facilities tab.
Zone | BA | Transmission Status | Primary Driver | Secondary Driver | Tie Line? (Yes/No) | Project Name | Terminal From Location | Terminal To Location | Company Name | EIA Company Code | Type of Entity (C,F,I,M,S,O) | Percent Ownership | Line Length in Circuit Miles | Line Type (OH, UG, SM) | Voltage Type (AC or DC) | Voltage Operating (kV) | Voltage Design (kV) | Conductor Size (MCM) | Conductor Material Type (AL, ACCR, ACSR, CU, OT) | Bundling Arrangement (1, 2, 3, 4, OT) | Circuits Per Structure Present | Circuits Per Structure Ultimate | Pole/Tower Material (W,C,S,B,P,O) | Pole/Tower Structure Type (P,H,T,U,O) | Capacity Rating (MVA) | Original In-Service Month (MM) | Original In-Service Year (YYYY) | Expected In-Service Month (MM) | Expected In-Service Year (YYYY) | Line Delayed? | Cause of Delay | Permitting Status | Rights of Way Status | Transmission Cost ($ millions) | WECC Rating Status (Phase 1, 2, or 3) | Interregional Planning Regions | Comments
VARI | IPCO | Conceptual | Other | Other | Yes | EXAMPLE | Walters Ferry, ID | Boardman, OR | IPC | 9191 | I | unknown at this time | 300 | OH | AC | 500 | 500 | 1272 | ACSR | 3 | 1 | 1 | TBD | TBD | 3000 | 6 | 2013 | 6 | 2016 | Yes | Public Review Process | DEIS | None | 820 |  |  | Hemingway S/S to Boardman S/S
Note on A4: See WECC Manual for list and explanation of valid codes
Note on B4: See WECC Manual for list and explanation of valid codes
Note on AI4: Line cost only. List terminal facility costs in "terminal facilities" tab

## terminal_facilities
Terminal facilities - new transmission terminal facilities, substations, reactive devices, DC converters, etc. that are planned for a future year.
- Provide relevant project information and a detailed description of the project.
In-service Year | Project Name | Location | Summer Capacity | Winter Capacity | Cost ($ millions) | Detailed Description
sub-study (b)
2027 | Synchronous Condenser | Colstrip |  |  |  | If substantial voltage violations are found in sub-study (a), re-run study with the addition of a synchronous condenser at Colstrip of appropriate size

## transmission_service
Transmission Service - new and/or existing transmission service obligations
- To be used in modeling future transmission commitments
Effective Date | Reservation # | MW | Start Date | End Date | POR | POD | Included in existing ATC calculations? (y/n) | Does new service require xmsn upgrades? | Additional Info

## non_xmsn_alternatives
Non-Transmission Alternatives
- Provide relevant project information and a detailed description of the project.
Year | Project Name | Location | Summer Capacity | Winter Capacity | Project Cost ($ millions) | Pubic Policy Project? (Y/N) If yes, elaborate on driver | Detailed Description
Note on G3: If Public Policy Project, please denote the mandate, law or objective in the description section

## Other
NTTG Public Policy Study Request
Renewable Northwest (RNW) and NW Energy Coalition (NWEC) request the following Public Policy Requirements study in the NTTG 2016-2017 Biennial Planning Process to better understand the transmission impacts and system reliability implications associated with potential Clean Power Plan (CPP) compliance alternatives in Montana as well as complying with additional public policy requirements within the NTTG footprint.
Specifically, we would like to request a study of the transmission and reliability impacts associated with retiring Colstrip unit 1 (358 MW nameplate capacity), unit 2 (358 MW) and unit 3 (778 MW) by 2027 and replacing the respective amounts of energy with new resources located in Montana.
Our request is to consider alternative replacement mixes including: (a) new wind resources; (b) new wind resources and a synchronous condenser; and (c) new wind resources and a new natural gas plant.
The public policy requirement justifications for this transmission study request include:
1) The Clean Power Plan under Section 111(d) of the Clean Air Act, and in particular, the requirement that each state implementation plan “must include a demonstration that the reliability of the electrical grid has been considered in the development of [the] plan.” Clean Power Plan, § 60.5745 (7).
2) Clean Air Act Section 211(a) and compliance with the EPA Regional Haze Program.
3) Renewable Portfolio Standard requirements in California, Washington and Oregon.
4) Integrated Resource Planning requirements for least cost/least risk procurement under the Washington Utility and Transportation Commission, Oregon Public Utility Commission and Idaho Public Utilities Commission.
The scope of our requested study is intended to focus on transmission impacts and mitigations associated with potential compliance options for the Clean Power Plan and other public policy requirements as noted above, including potential enhancements, operational changes and upgrades to the existing system, that would maintain the carrying capability and secure operation of Path 8 as well as the overall grid in the NTTG footprint. The study request does not argue for or against the broader policy and economic merits of any particular Clean Power Plan compliance strategy.
The study request is intended to be informational and is not based on a specific Clean Power Plan compliance proposal. It is intended to conform with the NTTG Order 1000 planning process, the 10-year study window and the availability of data from the forthcoming WECC 2026 Common Case, and to build on other relevant studies including the NTTG 2014-2015 Regional Transmission plan.
In particular, because of the importance of reliability assessment under the Clean Power Plan, for each sub-study replacement power mix we are interested in analysis of grid stability impacts including voltage regulation, transient stability and frequency response.
We are proposing this study in large part to help assure that NTTG has sufficient data and modeling resources to respond to more specific future requests from the State of Montana and other interested entities concerning the reliability impacts of alternative Clean Power Plan compliance options.
Study Details:
Retire Colstrip units 1, 2 and 3 (1494 MW) by 2027 and provide a replacement resource mix, assessing the following sub-study options:
(a) 1494 MW of new wind in Montana with a point of receipt at the Broadview 500 kV transmission bus, sinking to LSE owners Avista, PacifiCorp, PGE and PSE in accordance with their proportional ownership of Colstrip units 1, 2 and 3, and the remainder to sink at Northwest market hub.
(b) If the resource mix in (a) shows significant voltage violations, add a synchronous condenser of appropriate size at Colstrip, and rerun the analysis.
(c) 1244 MW of new wind in Montana with assumptions as in (a); and 250 MW of new natural gas generation at Billings.
Overall, the requested study should use the TEPPC 2026 Common Case and associated “round trip” powerflow data, with any appropriate modifications by NTTG. We envision the requested study will be conducted in an iterative fashion with both production cost and powerflow/grid stability analysis, as managed through the NTTG round trip process.
We understand that modeling of the Acceleration Trend Relay at Colstrip is a significant feature for our requested study, and note with appreciation the progress made in the previous NTTG planning cycle to address this unique feature.
Thank you for consideration of this study request, and we look forward to the opportunity to discuss it with the NTTG Planning Committee and consider further refinements.